HOMEOWNER’S PLUMBING PERMIT

SCOPE:  Plumbing installation in a single family dwelling owned and occupied by you or to be occupied by you.

LIMITATIONS:  All work under this permit shall be performed by the homeowner.  This permit does not authorize the homeowner to act in a managerial / supervisory capacity. No gas piping systems may be installed under this permit. No HVAC system may be installed under this permit.

INSTRUCTIONS:

- Complete the Homeowner’s Plumbing Permit Application

- Prepare a set of scaled drawings for submittal clearly indicating the location of all fixtures and water pipe sizing to serve such fixtures

- Complete the Plumbing Isometric Drawing indicating the location and sizing for the drainage and vent piping

- Indicate location of water service meter and distance to farthest outlet

- An open book examination will be administered by this office prior to obtaining a homeowner’s plumbing permit. A passing score of 75% or better is required. If the candidate is unsuccessful in passing, a thirty (30) day waiting period and re-application is required prior to retesting. Examination fees are $25.00 per test.

- Upon successful passing of the exam and the drawings are approved, you must obtain a plumbing permit from this office prior to the commencement of any work

Homeowner’s Plumbing Permit Application

Name: Current Address:

City: State: Zip:

Telephone / Cell: Date:

Address if Different from above:

I hereby make application for a Homeowner’s Plumbing Permit to install plumbing in a single family residence either owned and occupied by me or to be constructed and occupied by me.

I understand that my work must comply with the current New Mexico Plumbing Code.

I understand that my Homeowner’s Plumbing Permit will only pertain to the installation submitted in my drawing.

I acknowledge that I must perform the entire installation and not act in a managerial / supervisory capacity or I will forfeit my Homeowner’s Plumbing Permit and hire a licensed plumbing contractor to perform the work.

I agree to provide all drawings required by the authority having jurisdiction to obtain a Homeowner’s Plumbing Permit.

I understand that I must pass a test administered by the authority having jurisdiction and receive a passing grade of 75% or better prior to obtaining a Homeowner’s Plumbing Permit.

I will not perform any plumbing work on the project prior to obtaining a Homeowner’s Plumbing Permit from the authority having jurisdiction.

I understand that if I do not pass the exam administered by the authority having jurisdiction that a thirty (30) day waiting period and re-application is required prior to retesting.

I understand that I may not install gas piping systems or HVAC systems.

APPLICANT’S SIGNATURE:  _________________________________________________________